# Product name: 5200mAh 3.7V Lithium Polymer Battery for Hand held products

Cell model: 515171/2600mah /3.7V

Battery specification: SIE2-525171-1S2P

Nominal voltage: 3.7V

Nominal capacity: 5200mAh

Charging voltage: 4.2V

Charging current: 1600mA

Discharge current: 1600mA

Discharge cut-off voltage: 6V

Product internal resistance: ≤200mΩ

Battery weight: 300g

Charging temperature: 0 ~ 45℃

Discharge temperature: -20 ~ 60℃

Storage temperature: -20 to 25 ° C

Battery case: label

Lithium battery protection: short circuit protection, over charge protection, over discharge protection, over current protection, etc.

Product Features

1.Blue PVC heat shrinkable film package is simple, reliable and easy to be installed.

2.Battery protection management: Adopt special protection chip for lithium battery with good stability, high precision monitoring and precise control, to eliminate potential safety hazards to the maximum.

3.The battery pack has good safety, nice discharge performance and long cycle life.

4.The battery pack has a long cycle life and conforms to the values of low-carbon, energy saving and environment