- Customization 1000mAh 7.4V Lithium Polymer Battery for Medical Controller

- Cell model: 602865-1000 mah -3.6V

- Battery specification: KPL602865-2S-1000mAh-7.4V

- Nominal capacity:1000mAh

- Finished internal resistance: ≤ 180mΩ

- Battery package: hermal shrinkable PVC package

- Lithium battery protection: short circuit protection, over charge protection, over discharge protection, over temperature protection, over current protection,ESD protection and so on

- Application: Medical rehabilitation equipment, medical equipment

- 1.Blue PVC heat shrink film package is simple and reliable, and easy to install.

- 2.Connector output terminal: Use the JST plug output method to increase the electrical conductivity.

- 3.Data communication management: Use Ti-SMbus software to manage the chip with precise SMBus communication data transmission, accurate temperature control, so as to eliminate the security hazards.

- 4.The battery pack has good safety, nice discharge performance and long cycle life;

- 5.The battery pack has long cycle life, in line with the value of low carbon, energy saving and environmental protection;

- Kayo battery has the strong R&D team to support the customlized batteries.

- Below are the batteries for the PDA, PDA batteries

- Application areas: POS Terminal, Industrial PDA, Industrial Tablet PC, Portable Printer, Handheld Scanner, Consumer Device and Currency Counter etc.

- Li-ion polymer cells and import branded Li-ion cells solutions

- High performance, long service life and high safety characteristics

- Integrated intelligent PCBA

- Customized plastic case configuration

- KAYO branded promotion and OEM service