- Customized ICR18650 7.4V 2600mAh Lithium-ion Battery

- Product number: INR18650-2600mAH-2S1P

- Cell model: 18650-2600 mah -3.7V

- Battery specification: 18650-2S1P-2600MAH-7.4V

- Nominal voltage: 7.4V

- Nominal capacity: 2600mAh

- Finished internal resistance: ≤ 180mΩ

- Lithium battery protection: short circuit protection, over charge protection, over discharge protection, over temperature protection, over current protection,ESD protection and so on

- Application: Medical rehabilitation equipment, medical equipment

- 1.Blue PVC heat shrink film package is simple and reliable, and easy to install.

- 2.Connector output terminal: Use the JST plug output method to increase the electrical conductivity.